## Database
Relevance | Mandatory | Type | Country | Organisation | Org. Code | Reference | Edition | Date |  | Title | Original title | Function | Insulation | Voltage | Power | Frequency | N phases | N windings | Auto | IEC like | EN like | IEEE like | Tests | MEPS | Labelling | MEPS family | Link | Notes
3 | YES | Standard | Australia / New Zealand | AS | AS | 2374.1.2 |  | 2003 | AS 2374.1.2 (2003) | Power Transformers Part 1.2: Minimum Energy Performance Standard (MEPS) requirements for distribution transformers | Power Transformers Part 1.2: Minimum Energy Performance Standard (MEPS) requirements for distribution transformers | Distribution | All | up to 24 kV | 10 kVA to 2500 kVA | 50 Hz | 1 and 3 |  |  | Aligned | Aligned | NO | NO | YES | YES | E50 |  | Dry-type and oil-immersed type, three-phase and single-phase power transformers with power ratings from 10 kVA to 2500 kVA and system highest voltage up to 24 kV installed on 11 and 22 kV networks.
3 | YES | Standard | Australia / New Zealand | AS | AS | 2374.1.2 Amdt1 |  | 2005 | AS 2374.1.2 Amdt1 (2005) | Power Transformers Part 1.2: Minimum Energy Performance Standard (MEPS) requirements for distribution transformers | Power Transformers Part 1.2: Minimum Energy Performance Standard (MEPS) requirements for distribution transformers | Distribution | All | up to 24 kV | 10 kVA to 2500 kVA | 50 Hz | 1 and 3 |  |  | Aligned | Aligned | NO | NO | YES | YES | E50 |  | Dry-type and oil-immersed type, three-phase and single-phase power transformers with power ratings from 10 kVA to 2500 kVA and system highest voltage up to 24 kV installed on 11 and 22 kV networks.
3 | NO | Standard | Brazil | ABNT NBR | ABNT NBR | 5356-1 |  | 2012 | ABNT NBR 5356-1 (2012) | Power transformers - Part 1: General | [5 empty] | 50 Hz |  |  |  | With deviations | Aligned | NO | EPT | NO | NO | --
3 | NO | Standard | Canada | CSA | CSA | C802.1-13 |  | 2000 | CSA C802.1-13 (2000) | Minimum efficiency values for liquid-filled distribution transformers |  | Distribution | Liquid | < 34,5 kV | single 10-833 kVA, three ph 15-3000 kVA | 60 Hz | 1 and 3 |  |  | NO | NO | Aligned | YES | YES |  | E50 |  | NEMA
3 | YES | Standard | Canada | CSA | CSA | C802.2-12 |  | 2012 | CSA C802.2-12 (2012) | Minimum efficiency values for dry-type transformers |  |  | Dry type | < 35 kV | single 10-833 kVA, three ph 15-7500 kVA | 60 Hz | 1 and 3 |  |  | NO | NO | Aligned | YES | YES |  | E50 |  | NEMA
3 | YES | Standard | Canada | CSA | CSA | C802.4-13 |  | 2013 | CSA C802.4-13 (2013) | Guide for kVA sizing of dry-type transformers, 1.2 kV class, single-phase and three-phase |  |  | Dry type | 1,2 kV |  | 60 Hz | 1 and 3 |  |  | NO | NO | Aligned | NO | NO |  | E50 and E35 |  | NEMA
3 |  | Standard | China | JB/T | JB/T | 10317-02 |  | 2014 | JB/T 10317-02 (2014) | Specification and requiremetns for single phase oil immersed distribution transformers |  | Distribution | Liquid |  | 5-160 kVA | 50 Hz | 1 |  |  | Aligned | Aligned | NO | NO | NO | NO | --
3 | YES | Standard | China | GB | GB | 20052 |  | 2013 | GB 20052 (2013) | Minimum Allowable Values of Energy Efficiency and the Evaluating Values of Energy Conservation for Three-Phase Distribution Transformers Program applies to liquid-filled distribution transformers of 30 kVA-1600 kVA and dry type of rated capacity of 30 kVA-2500 kVA. |  | Distribution | Liquid |  | liquid-filled 30 kVA-1600 kVA and dry type 30 kVA-2500 kVA | 50 Hz | 1 and 3 |  |  | Aligned | Aligned | NO | NO | YES | NO | L100
3 | YES | Standard | India | Indian Standard | IS | 1180 Part 1 | 4 | 2015 | IS 1180 Part 1 (2015) | Outdoor Type Oil Immersed Distribution Transformers Upto And Including 2 500 KVA, 33kV - Specification Part 1 Mineral Oil Immersed (Fourth Revision) |  | Distribution | Oil | < 33 kV | < 2500 kVA | 50 Hz | 1 and 3 |  |  | Aligned | Aligned | NO | NO | YES | NO | L50 - L100
3 | YES | Standard | Israel | Israel Standard | IS | 5484 |  |  | IS 5484 () | Distribution transformers - energy efficiency requirements and marking |  | Distribution |  | < 33 kV | < 2500 kVA | 50 Hz |  |  |  | Aligned | Aligned | NO | EPT?! | YES | YES | L100
3 | NO | Standard | Japan | JIS | JIS | C4304 |  | 2013 | JIS C4304 (2013) | 6 kV liquid-filled distribution transformers |  | Distribution | Liquid | < 6 kV |  | 50-60 Hz |  |  |  | Aligned | Aligned | NO | EPT | NO | NO | --
3 | NO | Standard | Japan | JIS | JIS | C4306 |  | 2013 | JIS C4306 (2013) | 6 kV encapsulated-winding distribution transformers |  | Distribution | Dry type | < 6 kV |  | 50-60 Hz |  |  |  | Aligned | Aligned | NO | EPT | NO | NO | --
3 | YES | Standard | Korea | KS | KS | C4306 |  |  | KS C4306 () | Single high voltage cover bushing transformers | [6 empty] | 1 |  |  | Aligned | Aligned | NO | NO | YES | YES | L100
3 | YES | Standard | Korea | KS | KS | C4316 |  |  | KS C4316 () | Tow bushing type pole transformer for 22.9 kV |  |  |  | 22,9 kV | [5 empty] | Aligned | Aligned | NO | NO | YES | YES | L100
3 | YES | Standard | Korea | KS | KS | C4317 |  |  | KS C4317 () | Distribution transformers not more than 3MVA for 22.9kV |  | Distribution | 3 MVA | 22,9 kV | [5 empty] | Aligned | Aligned | NO | NO | YES | YES | L100
3 | YES | Standard | Mexico | NOM | NOM | 002-SEDE |  | 2010 | NOM 002-SEDE (2010) | Safety requirements and energy efficiency for distribution transformers | Requisitos de seguridad y eficiencia energética para transformadores de distribución | Distribution | Liquid |  |  | 60 Hz |  |  |  | NO | NO | Aligned | NO | YES | YES | E50 |  | NOM-002 was published in Mexico’s Diario Oficial de la Federación (Official Registry) for public law and it was enacted in October 1999
3 | NO | Standard | USA | IEEE SA | IEEE | C57.12.90 |  | 2015 | IEEE C57.12.90 (2015) | Standard Test Code for Liquid-Immersed Distribution, Power, and Regulating Transformers | Standard Test Code for Liquid-Immersed Distribution, Power, and Regulating Transformers | Distribution, power, and regulating transformers | Liquid |  |  | 60 Hz |  |  |  | NO | NO | It is | EPT
3 | NO | Standard | USA | IEEE SA | IEEE | C57.12.91 |  | 2011 | IEEE C57.12.91 (2011) | Standard Test Code for Dry-Type Distribution and Power Transformers | Standard Test Code for Dry-Type Distribution and Power Transformers | Distribution | Dry-type |  |  | 60 Hz |  |  |  | NO | NO | It is
3 | YES | Legislative doc | USA | DOE | DOE | 10 CFR 431 |  |  | DOE 10 CFR 431 () | ENERGY EFFICIENCY PROGRAM FOR CERTAIN COMMERCIAL AND INDUSTRIAL EQUIPMENT | ENERGY EFFICIENCY PROGRAM FOR CERTAIN COMMERCIAL AND INDUSTRIAL EQUIPMENT |  | Liquid and dry type | < 34,5 kV | Liquid 10-2500 kVA - Dry type 15-2500 kVA | 60 Hz | 1 and 3 |  |  | NO | NO | Aligned | EPT | YES |  | E50
3 | YES | Standard | Vietnam | TCVN | TCVN | 8525 |  | 2015 | TCVN 8525 (2015) | Distribution transformers – minimum energy performance and method for determination of energy efficiency. |  | Distribution | All | MV |  | 50 Hz |  |  |  | NO | NO | NO | NO | NO | NO | --
3 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-1 | 3 | 2011 | IEC 60076-1 (2011) | Power transformer - Part 1: General |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | EPT | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-2 | 3 | 2011 | IEC 60076-2 (2011) | Power transformer - Part 2: Temperature rise for liquid-immersed transformers |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-3 | 3 | 2013 | IEC 60076-3 (2013) | Power transformer - Part 3: Insulation levels, dielectric tests and external clearances in air |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | PTT | NO | NO | --
0 | NO | Technical Report | International | International Electrotechnical Committee | IEC | 60076-4 | 1 | 2002 | IEC 60076-4 (2002) | Power transformer - Part 4: Guide to the lightning impulse and switching impulse testing- Power transformers and reactors |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-5 | 3 | 2006 | IEC 60076-5 (2006) | Power transformer - Part 5: Ability to withstand short circuit |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-6 | 1 | 2007 | IEC 60076-6 (2007) | Power transformer - Part 6: Reactors |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-7 | 1 | 2005 | IEC 60076-7 (2005) | Power transformer - Part 7: Loading guide for oil-immersed power transformers |  |  | Liquid | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
0 | NO | Technical Report | International | International Electrotechnical Committee | IEC | 60076-8 | 1 | 1997 | IEC 60076-8 (1997) | Power transformer - Part 8: Application guide |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-10 | 1 | 2001 | IEC 60076-10 (2001) | Power transformer - Part 10: Determination of sound levels |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | PTT | NO | NO | --
0 | NO | Technical Report | International | International Electrotechnical Committee | IEC | 60076-10-1 | 1 | 2005 | IEC 60076-10-1 (2005) | Power transformer - Part 10-1: Determination of sound levels - Application guide |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
3 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-11 | 1 | 2004 | IEC 60076-11 (2004) | Power transformer - Part 11: Dry-type transformers |  |  | Dry | < 36 kV | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | EPT | NO | NO | --
0 | NO | Technical Report | International | International Electrotechnical Committee | IEC | 60076-12 | 1 | 2008 | IEC 60076-12 (2008) | Power transformer - Part 12: Loading guide for dry-type power transformers |  |  | Dry | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-13 | 1 | 2006 | IEC 60076-13 (2006) | Power transformer - Part 13: Self-protected liquid-filled transformers |  |  | Liquid | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-14 |  | 2013 | IEC 60076-14 (2013) | Power transformer - Part 14: Design and application of liquid-immersed power transformers using high-temperature insulation materials |  |  | Liquid | < 24 kV | 50-1000 kVA | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-15 | 1 | 2008 | IEC 60076-15 (2008) | Power transformer - Part 15: Gas-filled power transformers |  |  | Gas | < 36 kV | 100-10000 kVA | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-16 | 1 | 2011 | IEC 60076-16 (2011) | Power transformer - Part 16: Transformers for wind turbine applications |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-18 | 1 | 2012 | IEC 60076-18 (2012) | Power transformer - Part 18: Measurement of frequency response |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | PTT | NO | NO | --
3 | NO | Technical Report | International | International Electrotechnical Committee | IEC | 60076-19 | 1 | 2013 | IEC 60076-19 (2013) | Power transformer - Part 19: Rules for the determination of uncertainties in the measurement of losses in power transformers and reactors |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | EPT | NO | NO | --
3 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-20 | 1 | pr | IEC 60076-20 (pr) | Power transformers - Part 20: Energy efficiency |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | Aligned | EPT | YES | NO | All
0 | NO | Standard | International | International Electrotechnical Committee | IEC | 60076-21 | 1 | 2011 | IEC 60076-21 (2011) | Power transformer - Part 21: Standard requirements, terminology, and test code for step-voltage regulators |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | It is | Aligned | NO | NO | NO | NO | --
3 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-1 | 3 | 2011 | EN 60076-1 (2011) | Power transformer - Part 1: General |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | EPT | NO | NO | --
1 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-2 | 3 | 2011 | EN 60076-2 (2011) | Power transformer - Part 2: Temperature rise for liquid-immersed transformers |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | PTT | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-3 | 3 | 2013 | EN 60076-3 (2013) | Power transformer - Part 3: Insulation levels, dielectric tests and external clearances in air |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | PTT | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-4 | 1 | 2002 | EN 60076-4 (2002) | Power transformer - Part 4: Guide to the lightning impulse and switching impulse testing- Power transformers and reactors |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | PTT | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-5 | 3 | 2006 | EN 60076-5 (2006) | Power transformer - Part 5: Ability to withstand short circuit |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | PTT | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-6 | 1 | 2007 | EN 60076-6 (2007) | Power transformer - Part 6: Reactors |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | NO | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-10 | 1 | 2001 | EN 60076-10 (2001) | Power transformer - Part 10: Determination of sound levels |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | PTT | NO | NO | --
3 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-11 | 1 | 2004 | EN 60076-11 (2004) | Power transformer - Part 11: Dry-type transformers |  |  | Dry | < 36 kV | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | EPT | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-12 | 1 | 2008 | EN 60076-12 (2008) | Power transformer - Part 12: Loading guide for dry-type power transformers |  |  | Dry | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | NO | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-13 | 1 | 2006 | EN 60076-13 (2006) | Power transformer - Part 13: Self-protected liquid-filled transformers |  |  | Liquid | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | NO | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-14 | 0 | 2013 | EN 60076-14 (2013) | Power transformer - Part 14: Design and application of liquid-immersed power transformers using high-temperature insulation materials |  |  | Liquid | < 24 kV | 50-1000 kVA | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | NO | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-16 | 1 | 2011 | EN 60076-16 (2011) | Power transformer - Part 16: Transformers for wind turbine applications |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | NO | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-18 | 1 | 2012 | EN 60076-18 (2012) | Power transformer - Part 18: Measurement of frequency response |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | PTT | NO | NO | --
3 | YES | Standard | Europe | CEN-CENELEC | EN | 60076-19 | 1 | 2013 | EN 60076-19 (2013) | Power transformer - Part 19: Rules for the determination of uncertainties in the measurement of losses in power transformers and reactors |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | EPT | NO | NO | --
0 | NO | Standard | Europe | CEN-CENELEC | EN | 60076-21 | 1 | 2011 | EN 60076-21 (2011) | Power transformer - Part 21: Standard requirements, terminology, and test code for step-voltage regulators |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | It is | NO | NO | NO | NO | --
3 | YES | Standard | Europe | CEN-CENELEC | EN | 50588-1 | 1 | 2015 | EN 50588-1 (2015) | Medium power transformers 50 Hz, with highest voltage for equipment not exceeding 36 kV - Part 1: General requirements |  |  | All | < 36 kV | < 40 MVA |  | 1 and 3 | All | Included | Aligned | It is | NO | EPT | YES | NO | L100 - PEI
3 | YES | Standard | Europe | CEN-CENELEC | EN | 50629 | 1 | 2015 | EN 50629 (2015) | Energy performance of large power transformers (Um > 36 kV or Sr ≥ 40 MVA) |  |  | All | > 36 kVA | > 5 kVA | 50 Hz | 1 and 3 | All | Included | Aligned | It is | NO | EPT | YES | NO | PEI
3 | NO | Standard | Vietnam | TCVN | TCVN | 6306-1 |  | 2015 | TCVN 6306-1 (2015) | Power transformers. Part 1: General | Máy biến áp điện lực – Phần 1: Quy định chung |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | With deviations | Aligned | NO | EPT | NO | NO | -- |  | 6306-1:2006 (IEC 60076-1:2000)
0 | NO | Standard | Vietnam | TCVN | TCVN | 6306-2 |  | 2006 | TCVN 6306-2 (2006) | Power transformers. Part 2: Temperature rise | Máy biến áp điện lực – Phần 2: Độ tăng nhiệt |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | With deviations | Aligned | NO | PTT | NO | NO | -- |  | 6306-2:2006 (IEC 60076-2:1993)
0 | NO | Standard | Vietnam | TCVN | TCVN | 6306-3 |  | 2006 | TCVN 6306-3 (2006) | Power transformers. Part 3: Insulation levels and dielectric tests and external clearances in air | Máy biến áp điện lực – Phần 3: Mức cách điện, thử nghiệm điện môi và khoảng cách ly bên ngoài trong không khí |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | With deviations | Aligned | NO | PTT | NO | NO | -- |  | 6306-3:2006 (IEC 60076-3:2000)
0 | NO | Standard | Vietnam | TCVN | TCVN | 6306-5 |  | 2006 | TCVN 6306-5 (2006) | Power transformers. Part 5: Ability to withstand short circuit | Máy biến áp điện lực – Phần 5: Khả năng chịu ngắn mạch |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | With deviations | Aligned | NO | PTT | NO | NO | -- |  | 6306-5:2006 (IEC 60076-5:2006)
3 | NO | Standard | Australia / New Zealand | AS | AS | 2374.1. |  | 2003 | AS 2374.1. (2003) | Power Transformers Part 1: General | Power Transformers Part 1: General |  | All |  | single ph > 1kVA, three ph > 5 kVA |  |  |  | Included | With deviations | Aligned | NO | EPT | NO | NO | --
3 | NO | Standard | Australia / New Zealand | AS | AS | 2735 |  | 1984 | AS 2735 (1984) | Dry-type power transformers | Dry-type power transformers |  | Dry type | < 36 kV | single ph > 1kVA, three ph > 5 kVA |  |  |  |  | With deviations | Aligned | NO | NO | NO | NO | --
3 | YES | Standard | China | GB | GB | 1094.1 |  | 1996 | GB 1094.1 (1996) | Power transformers--Part 1:General | 电力变压器 第1部分 总则 |  | All | All |  | 50 Hz | 1 and 3 |  | Included | With deviations | Aligned | NO | EPT | NO | NO | -- |  | 1996-12-01实施,代替GB 1094.1-1985,GB 1094.4-1985
0 | YES | Standard | China | GB | GB | 1094.2 |  | 1996 | GB 1094.2 (1996) | Power transformers--Part 2:Temperature rise | 电力变压器 第2部分 温升 |  | All | All |  | 50 Hz | 1 and 3 |  | Included | With deviations | Aligned | NO | PTT | NO | NO | -- |  | 1996-12-01实施,代替GB 1094.2-1985
0 | YES | Standard | China | GB | GB | 1094.3 |  | 2003 | GB 1094.3 (2003) | Power transformers--Part 3: Insulation levels，dielectric tests and external clearances in air | 电力变压器 第3部分: 绝缘水平、绝缘试验和外绝缘空气间隙 |  | All | All |  | 50 Hz | 1 and 3 |  | Included | With deviations | Aligned | NO | NO | NO | NO | -- |  | 2004-01-01实施,代替GB 1094.3-1985,GB/T 10237-1988
0 | YES | Standard | China | GB | GB | 1094.5 |  | 2008 | GB 1094.5 (2008) | Power transformers - Part 5: Ability to withstand short circuit | 电力变压器 第5部分：承受短路的能力 |  | All | All |  | 50 Hz | 1 and 3 |  | Included | With deviations | Aligned | NO | NO | NO | NO | -- |  | 2009-06-01实施,代替GB 1094.5-2003
3 | YES | Standard | China | GB | GB | 1094.11 |  | 2007 | GB 1094.11 (2007) | Power transformers - Part 11: Dry-type transformers | 电力变压器 第11部分：干式变压器 |  | Dry type |  |  | 50 Hz | 1 and 3 |  | Included | With deviations | Aligned | NO | EPT | NO | NO | -- |  | 2008-04-01实施,代替GB 6450-1986
3 | YES | Standard | India | Indian Standard | IS | I2026: Part 1 |  | 2011 | IS I2026: Part 1 (2011) | Power transformers: Part 1 General |  |  | All | All | All | 50 Hz | 1 and 3 | All | All | With deviations | Aligned | NO | EPT | NO | NO | --
2 | NO | Standard | India | Indian Standard | IS | I2026: Part 2 |  | 2010 | IS I2026: Part 2 (2010) | Power transformers Part 2 Temperature-rise |  |  | All | All | All | 50 Hz | 1 and 3 | All | All | With deviations | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | India | Indian Standard | IS | I2026: Part 3 |  | 2009 | IS I2026: Part 3 (2009) | Power Transformers Part - 3 Insulation Levels, Dielectric Tests and External Clearances in Air |  |  | All | All | All | 50 Hz | 1 and 3 | All | All | With deviations | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | India | Indian Standard | IS | I2026: Part 4 |  | 1977 | IS I2026: Part 4 (1977) | Power transformers: Part 4 Terminal marking, tappings and connections |  |  | All | All | All | 50 Hz | 1 and 3 | All | All | With deviations | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | India | Indian Standard | IS | I2026: Part 5 |  | 2011 | IS I2026: Part 5 (2011) | Power Transformers Part 5 Ability to Withstand Short Circuit |  |  | All | All | All | 50 Hz | 1 and 3 | All | All | With deviations | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | India | Indian Standard | IS | I2026: Part 7 |  | 2009 | IS I2026: Part 7 (2009) | Power Transformers Part 7 Loading Guide for Oil-Immersed PowerTransformers |  |  | All | All | All | 50 Hz | 1 and 3 | All | All | With deviations | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | India | Indian Standard | IS | I2026: Part 8 |  | 2009 | IS I2026: Part 8 (2009) | Power Transformers : Part 8 Applications guide |  |  | All | All | All | 50 Hz | 1 and 3 | All | All | With deviations | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | India | Indian Standard | IS | I2026: Part 10 |  | 2009 | IS I2026: Part 10 (2009) | Power Transformers : Part 10 Determination of sound levels |  |  | All | All | All | 50 Hz | 1 and 3 | All | All | With deviations | Aligned | NO | PTT | NO | NO | --
3 | NO | Standard | Korea | KS | KS C IEC | 60076-1 |  | 2002.10.29 | KS C IEC 60076-1 ( 2002.10.29 ) | Power transformers－Part 1：General |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | EPT | NO | NO | --
0 | NO | Standard | Korea | KS | KS C IEC | 60076-2 |  | 2002.10.29 | KS C IEC 60076-2 ( 2002.10.29 ) | Power transformers－Part 2：Temperature rise |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | Korea | KS | KS C IEC | 60076-3 |  | 2002.10.29 | KS C IEC 60076-3 ( 2002.10.29 ) | Power transformer－Part 3：Insulation levels, dielectric tests and external clearances in air |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | Korea | KS | KS C IEC | 60076-4 |  | 2008.03.31 | KS C IEC 60076-4 ( 2008.03.31 ) | Power transformers－Part 4：Guide to the lightning impulse and switching impulse testing－Power transformers and reactors |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | Korea | KS | KS C IEC | 60076-5 |  | 2008.03.31 | KS C IEC 60076-5 ( 2008.03.31 ) | Power transformers－Part 5：Ability to withstand short circuit |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | Korea | KS | KS C IEC | 60076-7 |  | 2008.11.20 | KS C IEC 60076-7 ( 2008.11.20 ) | Power transformers－Part 7：Loading guide for oil-immersed power transformers |  |  | Liquid | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | Korea | KS | KS C IEC | 60076-8 |  | 2002.10.29 | KS C IEC 60076-8 ( 2002.10.29 ) | Power transformers－Part 8：Application guide |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | NO | NO | NO | --
0 | NO | Standard | Korea | KS | KS C IEC | 60076-10 |  | 2003.12.29 | KS C IEC 60076-10 ( 2003.12.29 ) | Power transformers－Part 10：Determination of sound levels |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | PTT | NO | NO | --
0 | NO | Standard | Korea | KS | KS C IEC | 60076-10-1 |  | 2008.11.20 | KS C IEC 60076-10-1 ( 2008.11.20 ) | Power transformers－Part 10－1：Determination of sound levels－Application guide |  |  | All | All | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | NO | NO | NO | --
3 | NO | Standard | Korea | KS | KS C IEC | 60076-11 |  | 2008.03.31 | KS C IEC 60076-11 ( 2008.03.31 ) | Power transformers－Part 11：Dry-type transformers |  |  | Dry | < 36 kV | All | 50-60 Hz | 1 and 3 | All | Included | Identical | Aligned | NO | EPT | NO | NO | --
3 | YES | Standard | Mexico | NOM | NMX | J169-ANCE |  | 2004 | NMX J169-ANCE (2004) | Electrical Products – Distribution and Power Transformers and Autotransformers – Test Methods | Transformadores y Autotransformadores de Distribución y Potencia - Métodos de Prueba | Distribution | Liquid |  |  | 60 Hz |  |  |  | NO | NO | Aligned | EPT | NO | NO | -- | http://dof.gob.mx/nota_detalle.php?codigo=5413896&fecha=02/11/2015
2 | YES | Legislative doc | European Union | European Parliament | EC | Directive 2009/125 | 2 | 2009 | EC Directive 2009/125 (2009) | Directive framework for the setting of ecodesign requirements for energy-related products |  |  | All | All | All | 50 Hz | 1 and 3 | All | Included | Aligned | Aligned | NO | -- | NO | NO | --
1 | YES | Legislative doc | European Union | European Parliament | EU | Directive 2014/35 | 3 | 2014 | EU Directive 2014/35 (2014) | Low Voltage Directive |  |  | All | All | All | 50 Hz | 1 and 3 | All | Included | Aligned | Aligned | NO | -- | NO | NO | -- |  | In May 2016 it has not yet clarified definitively if a power transformer with a LV winding is to be considered or not in the scope of this Directive.
1 | YES | Legislative doc | European Union | European Parliament | EU | Directive 2014/30 | 3 | 2014 | EU Directive 2014/30 (2014) | EMC Directive |  |  | All | All | All | 50 Hz | 1 and 3 | All | Included | Aligned | Aligned | NO | -- | NO | NO | -- |  | In May 2016 it has not yet clarified definitively if a power transformer with a LV winding is to be considered or not in the scope of this Directive.
3 | YES | Legislative doc | European Union | European Parliament | EU | Regulation 548/2014 | 1 | 2014 | EU Regulation 548/2014 (2014) | Regulation implementing Directive 2009/125/EC of the European Parliament and of the Council with regard to small, medium and large power transformers |  |  | All | All | All | 50 Hz | 1 and 3 | All | Included | Aligned | Aligned | NO | EPT | YES | NO | L100 - PEI
3 | YES | Legislative doc | USA | DOE | DOE | 10 CFR 429 |  |  | DOE 10 CFR 429 () |  |  |  | Liquid and dry type | < 34,5 kV | Liquid 10-2500 kVA - Dry type 15-2500 kVA | 60 Hz | 1 and 3 |  |  | NO | NO | Aligned | EPT
3 | YES | Legislative doc | USA | DOE | DOE | 78 FR 23335 |  |  | DOE 78 FR 23335 () | [6 empty] | 60 Hz |  |  |  | NO | NO | Aligned | NO | YES |  | E50
3 | YES | Legislative doc | USA | DOE | DOE | 71 FR 24972 |  |  | DOE 71 FR 24972 () |  |  |  | Liquid and dry type | < 34,5 kV | Liquid 10-2500 kVA - Dry type 15-2500 kVA | 60 Hz | 1 and 3 |  |  | NO | NO | Aligned | NO
3 | YES | Legislative doc | Australia / New Zealand | Australian Government, states and territories and the New Zealand Government |  | E3 |  | 2004 | E3 (2004) | Equipment Energy Efficiency programme |  |  | All |  |  | 50 Hz |  |  |  | Aligned | Aligned | NO | NO | NO | NO | --
3 | YES | Legislative doc | Brazil | Minister of Mines and Energy |  | Inter-Ministerial Directive 104/2013 |  | 2013 | Inter-Ministerial Directive 104/2013 (2013) |  |  |  | All | > 36,2 kV | single 5-100 kVA, three ph liquid 15-300 kV | 50 Hz | 1 and 3 |  |  | Aligned | Aligned | NO | NO | YES | YES | L100
3 | YES | Legislative doc | Canada | Office of Energy Efficiency at Natural Resources Canada | NRCan | Canada Gazette April 12 2012 Part II |  | 2012 | NRCan Canada Gazette April 12 2012 Part II (2012) |  |  |  | Dry type |  |  | 60 Hz |  |  |  | NO | NO | Aligned | NO | YES |  | E50 | http://www.nrcan.gc.ca/energy/regulations-codes-standards/bulletins/7137
3 | YES | Standard | China | GB | GB | 24790 |  | 2015 | GB 24790 (2015) |  |  |  | Liquid | 35-220 kV | > 3150 kVA | 50 Hz | 1 and 3 |  |  | Aligned | Aligned | NO | NO | YES | NO | L100
3 | YES | Legislative doc | India | Indian Governement | DT | Notification/Gazette (Schedule 4 - Distribution Transformer) 5 January 2010 |  | 2010 | DT Notification/Gazette (Schedule 4 - Distribution Transformer) 5 January 2010 (2010) |  |  |  | Liquid | < 11 kV | < 200 kVA | 50 Hz | 3 |  |  | Aligned | Aligned | NO | NO | NO | YES | --
3 | YES | Legislative doc | India | Indian Governement |  | No:2/11/(5)/03-BEE-3, Dtd: 05.03.2010 |  | 2010 | No:2/11/(5)/03-BEE-3, Dtd: 05.03.2010 (2010) | [10 empty] | Aligned | Aligned | NO | NO | YES | NO | L50 - L100
3 | YES | Legislative doc | Israel | [5 empty] | () | [6 empty] | 50 Hz |  |  |  | Aligned | Aligned | NO | NO | YES | YES | L100
3 | NO | Voluntary agreement | Japan |  |  |  |  | 2013 | (2013) | Tope Runner Program – Japan’s Approach to Energy Efficiency and Conservation Measures |  |  |  |  | single-phase (rated between 5 and 500 kVA) and three-phase (rated between 10 and 2000 kVA) | 50-60 Hz | 1 and 3 |  |  | Aligned | Aligned | NO | EPT | YES | YES | TL
3 | YES | Standard | Korea | KS | KS | C4311 |  |  | KS C4311 () | Dry-type transformer |  |  | Dry | [6 empty] | Aligned | Aligned | NO | NO | NO | NO | --
3 | YES | Legislative doc | Korea |  |  |  |  | 2012 | (2012) |  |  |  | Liquid | [6 empty] | Aligned | Aligned | NO | NO | YES | YES | E50
3 | YES | Legislative doc | Vietnam |  |  |  |  | 2013 | (2013) |  |  |  | Liquid | < 35 kV | 25-2500 kVA | 50 Hz | 3 |  |  | Aligned | Aligned | NO | NO | YES | NO | E??
2 | YES | Standard | USA | NEMA | NEMA | TP1 |  | 2002 | NEMA TP1 (2002) | Guide for Determining Energy Efficiency for Distribution Transformers | Guide for Determining Energy Efficiency for Distribution Transformers | Distribution |  |  |  | 50 Hz |  |  |  | Aligned | Aligned | NO | NO | NO | NO | -- | https://www.nema.org/Technical/Pages/NEMA-Premium-Efficiency-Transformers-Program.aspx
2 | YES | Standard | USA | NEMA | NEMA | TP2 |  | 2005 | NEMA TP2 (2005) | Standard Test Method for Measuring the Energy Consumption of Distribution Transformers | Standard Test Method for Measuring the Energy Consumption of Distribution Transformers | Distribution
3 | YES | Standard | USA | IEEE | IEEE | C57.12.00 |  | 2015 | IEEE C57.12.00 (2015) | IEEE Standard for General Requirements for Liquid-Immersed Distribution, Power, and Regulating Transformers | IEEE Standard for General Requirements for Liquid-Immersed Distribution, Power, and Regulating Transformers | Distribution | All |  |  | 60 Hz |  |  |  | NO | NO | It is |  |  |  |  | https://standards.ieee.org/findstds/standard/C57.12.00-2015.html
3 | YES | Standard | USA | IEEE | ANSI | C57.12.10 |  | 2010 | ANSI C57.12.10 (2010) | IEEE Standard Requirements for Liquid-Immersed Power Transformers | IEEE Standard Requirements for Liquid-Immersed Power Transformers |  | Liquid |  |  | 60 Hz |  |  |  | NO | NO | Aligned |  |  |  |  | https://standards.ieee.org/findstds/standard/C57.12.10-2010.html
2 | NO | Standard | USA | IEEE | IEEE | C57.12.20 |  | 2011 | IEEE C57.12.20 (2011) | IEEE Standard for Overhead-Type Distribution Transformers 500 kVA and Smaller: High Voltage, 34 500 V and Below; Low Voltage, 7970/13 800Y V and Below | IEEE Standard for Overhead-Type Distribution Transformers 500 kVA and Smaller: High Voltage, 34 500 V and Below; Low Voltage, 7970/13 800Y V and Below | Distribution |  |  |  | 60 Hz |  |  |  | NO | NO | It is |  |  |  |  | https://standards.ieee.org/findstds/standard/C57.12.20-2011.html
3 | NO | Standard | USA | IEEE | IEEE | C57.12.40 |  | 2011 | IEEE C57.12.40 (2011) | IEEE Standard for Network, Three-Phase Transformers, 2500 kVA and Smaller; High Voltage, 34 500 GrdY/19 920 and Below; Low Voltage, 600 V and Below; Subway and Vault Types (Liquid Immersed) | IEEE Standard for Network, Three-Phase Transformers, 2500 kVA and Smaller; High Voltage, 34 500 GrdY/19 920 and Below; Low Voltage, 600 V and Below; Subway and Vault Types (Liquid Immersed) |  | Liquid |  |  | 60 Hz |  |  |  | NO | NO | It is |  |  |  |  | https://standards.ieee.org/findstds/standard/C57.12.40-2011.html
3 | YES | Standard | USA | IEEE | IEEE | C57.12.01 |  | 2015 | IEEE C57.12.01 (2015) | IEEE Standard for General Requirements for Dry-Type Distribution and Power Transformers | IEEE Standard for General Requirements for Dry-Type Distribution and Power Transformers | Distribution | All |  |  | 60 Hz |  |  |  | NO | NO | It is |  |  |  |  | https://standards.ieee.org/findstds/standard/C57.12.01-2015.html
3 | YES | Standard | China | GB | GB | T28180 |  | 2011 | GB T28180 (2011) | Eco-design standard of transformers | [5 empty] | 50 Hz |  |  |  | Aligned | Aligned
2 | YES | Technical Report | China |  |  | -- |  | 2015 | -- (2015) | Method and Requirement for Evaluating Low-carbon Three-phase Distribution Transformer Products | 三相配电变压器低碳产品评价方法及要求 | Distribution | All |  |  | 50 Hz | 1 and 3
3 | YES | Standard | China | GB | GB | 20052 |  | 2013 | GB 20052 (2013) | Minimum Allowable Values of Energy Efficiency and the Evaluating Values of Energy Conservation for Three-Phase Distribution Transformers Program applies to liquid-filled distribution transformers of 30 kVA-1600 kVA and dry type of rated capacity of 30 kVA-2500 kVA |  | Distribution | All except gas |  | 30 kVA-1600 kVA and dry type of rated capacity of 30 kVA-2500 kVA | 50 Hz | 1 and 3 |  |  | Aligned | Aligned | NO | YES | YES | NO | L100
3 | NO | Standard | Japan | Japanese Electrotechnical Committee | JEC | 2200 |  | 2014 | JEC 2200 (2014) | Power transformers | [6 empty] | 1 and 3 |  | yes | Aligned | Aligned | NO | NO | NO | NO | --

## More Information
More information
about the INTAS project activities
and all of its results
are published on:
www.INTAS-testing.eu
Contact to the project coordinator:
Ingrid Weiss
Ingrid.Weiss@wip-munich.de
Contact to the WP2 leader:
Angelo Baggini
angelo.baggini [at] ecd.it
The sole responsibility for the content of this document lies with the authors. It does not necessarily reflect the opinion of the European Union. Neither the EASME nor the European Commission are responsible for any use that may be made of the information contained therein.

## Lists
Doc. Type | Function | Insulation | Voltage | Power | N phases | N windings | Auto | IEC/EN/IEEE
Standard | Distribution | Liquid |  |  | 1 |  | Included | Identical
Technical Specification |  | Gas |  |  | 2 |  | Only | With deviations
Technical Report |  | Dry type |  |  | 3 |  | Excluded | It is
Legislative doc |  | Liquid + Dry type |  |  | 1-3 |  |  | Aligned
Voluntary agreement |  | Cast resin
Directive |  | Open type
Regulation |  | Oil
Ester oil